## Sheet1
Tender Requirement of Hospital Material for F.Y. 2080-081
S/N | Product Name |  | Unit | Required Quantity for 80-81
1 | ADHESIVE TAPE ( SIZE 9 MTR X 10 CM) | BSN, INDIA OR EQUIVALENT | ROLL | 4000
2 | AUTOCLAVE TAPE (STEAM INDICATOR TAPE) 1" WIDE | AUTOCLAVE TAPE (STEAM INDICATOR TAPE) 1" WIDE | ROLL | 500
3 | BP CUFF NEONATE | HEINE/MICROLIFE/ROSSMAX/NIHON KOHDEN OR EQUIVALENT | NO | 5
4 | BP CUFF PAEDIATRIC | HEINE/MICROLIFE/ROSSMAX/NIHON KOHDEN OR EQUIVALENT | NO | 5
5 | B.P. INSTRUMENT ANEROID TYPE | HEINE/MICROLIFE/ROSSMAX OR EQUIVALENT | NOS | 400
6 | B.P. INSTRUMENT ANORIDE (NEONATE SIZE) | HEINE/MICROLIFE/ROSSMAX OR EQUIVALENT | PC | 5
7 | B.P. INSTRUMENT ANORIDE (PEDIATRIC SIZE) | HEINE/MICROLIFE/ROSSMAX OR EQUIVALENT | PC | 10
8 | B.P. INSTRUMENT( DIGITAL) | HEINE/MICROLIFE/ ROSSMAX , ISO, ISI , FDA CERTIFIED OR EQUIVALENT | PCS | 10
9 | BATTERY 1.55V FOR DIGITAL THERMOMETER | GOOD QUALITY | PCS | 50
10 | BED PAN PLASTIC | GOOD QUALITY | PCS | 50
11 | BUTTERFLY NIDDLE 19 G | ROMSONS OR EQUIVALENT | NOS | 100
12 | CHEMICAL FOR AUTO PROCESSOR DEVELOPER REPLENISHER, WITHOUT DIUTION (1 JAR = 6 LITRE) | RAHUL PHOTOGRAPHY COMPANY PVT. LTD, INDIA OR EQUIVALENT | JAR | 10
13 | CHEMICAL FOR AUTO PROCESSOR FIXER REPLENISHER, WITHOUT DILUTION ( 1 JAR= 6 LITRE) | RAHUL PHOTOGRAPHY COMPANY PVT. LTD, INDIA OR EQUIVALENT | JAR | 10
14 | DETTOL SOLUTION 500 ML | RECKITT BENCKISER, INDIA OR EQUIVALENT | BOTTLE | 250
15 | DIGITAL THERMOMETER | PHILIPS AVENTES/LLOYDS OR EQUIVALENT | PCS | 500
16 | DISINFECTANT SOLUTION FOR FUMIMGATION | GOOD QUALITY | LITRE | 25
17 | DISPOSABLE CAP | GOOD QUALITY | PCS | 50000
18 | DISPOSABLE ECG ELECTRODES (45x42x1mm) | GOOD QUALITY | NOS | 1000
19 | DISPOSABLE FACE MASK | GOOD QUALITY | PCS | 150000
20 | DISPOSABLE NEEDLE NO. 26 G, HALF INCHES | GOOD QUALITY | NOS | 500
21 | DISPOSABLE SYRINGE 1 CC ( WITH 29G NEEDLE) | DISPOVAN-INDIA/ LIFELINE-NEPAL OR EQUIVALENT | NOS | 3000
22 | DISPOSABLE SYRINGE WITH NEEDLE 10 ML | DISPOVAN-INDIA/LIFELINE-NEPAL OR EQUIVALENT | NOS | 10000
23 | DISPOSABLE SYRINGE WITH NEEDLE 2M/3ML | DISPOVAN/LIFELINE/SAFEWAY OR EQUIVALENT | NOS | 15000
24 | DISPOSABLE SYRINGE WITH NEEDLE 20 ML | DISPOVAN/LIFELINE/SAFEWAY OR EQUIVALENT | NOS | 5000
25 | DISPOSABLE SYRINGE WITH NEEDLE 5 ML | DISPOVAN/LIFELINE/SAFEWAY | NOS | 10000
26 | DISPOSABLE SYRINGE WITH NEEDLE 50 ML | DISPOVAN/LIFELINE/SAFEWAY OR EQUIVALENT | NOS | 50
27 | ECG JELLY 250 ML | HAYLIDE CHEMICALS PVT. LTD, INDIA OR EQUIVALENT | TUBE | 2500
28 | ECG RECORDING PAPER FQW 110-2-140 | SONOMED/NIHON KOHDEN OR EQUIVALENT | PKT | 3000
29 | ET TUBE 6.5 FR | ROMSONS OR EQUIVALENT | NOS | 100
30 | ET TUBE 7.0 FR | ROMSONS OR EQUIVALENT | NOS | 200
31 | ET TUBE 7.5 FR | ROMSONS OR EQUIVALENT | NOS | 100
32 | ET TUBE 8.0 FR | ROMSONS OR EQUIVALENT | NOS | 200
33 | ET TUBE 3.0 FR | ROMSONS OR EQUIVALENT | NOS | 50
34 | ET TUBE 3.5 FR | ROMSONS OR EQUIVALENT | NOS | 50
35 | ET TUBE 4 FR | ROMSONS OR EQUIVALENT | NOS | 50
36 | ET TUBE 5.5 FR | ROMSONS OR EQUIVALENT | NOS | 50
37 | FLUORESCEIN STRIP (PKT OF 100) | AKRITI OCCULOPLASTY OR EQUIVLANET ( SHOULD BE STRELE) | PKT | 200
38 | GLOVES POWDER 400 GM | GOOD QUALITY | PKT | 1000
39 | GLUTARALDEHYDE SOLUTION 2% , 5 LIT ( CIDEX ) | RAMANE WELL PVT. LTD OR EQUIVALENT | JAR | 3000
40 | HALOGEN BULB 24V,50W ( CHOCALATE TYPE) | OSRAM OR EQUIVALENT | PCS. | 50
41 | HALOGEN TUBE FOR PHOTHERAPY UNIT 18W/71 (OSRAM) | OSRAM OR EQUIVALENT | PCS | 10
42 | HAND SANITIZER 500ML | GOOD QUALITY | NOS | 2000
43 | HOT WATER BAG | ISO CERTIFIED, INDIAN MADE | NOS | 100
44 | IRIS SPATULA WOODENE | GOOD QUALITY | NOS | 6000
45 | IV CANNULA NO. 22 | ROMSONS OR EQUIVALENT | NOS | 100
46 | KEY FOR OXYGEN CYLINDER | GOOD QUALITY | NOS | 5
47 | LARYNGOCOPE BULB | GOOD QUALITY | NOS | 100
48 | LARYNGOSCOPE WITH 3 BLADE (PAEDIATRIC) | HILLBRO - PAKISTAN/ GERMANY MAKE OR EQUIVALENT | NOS | 15
49 | LARYNGOSCOPE WITH 4 BLADE (ADULT) | HILLBRO - PAKISTAN/ GERMANY MAKE OR EQUIVALENT | NOS | 25
50 | LUBRICATING JELLY (K.Y.JELLY), 50GM | NEON LABORATORIES, INDIA OR EQUIVALENT | TUBE | 3500
51 | MACANTOSH (RUBBER SHEET) | SHREE INDIA OR EQUIVALENT | MTR | 500
52 | METHALATED SPIRITS, 5 LITRE JAR | GOOD QUALITY | JAR | 4500
53 | MICROTOME BLADE 50 PCS/PKT (35 DEGREE/80MM) | MADE IN JAPAN OR EQUIVALENT | PKT | 100
54 | NON ABSORABLE SURGICAL SUTURE (BLACK BRAIDED SILK) NON STERILE, NO.1, 1/0.2, 2/0, 3, 3/0 ( 25 MTRS / ROLL ) | JOHNSON & JOHNSON INDIA OR EQUIVALENT | ROLL | 150
55 | OXYGEN FACE MASK (PAEDIATRIC) | ROMSONS OR EQUIVALENT | PCS | 150
56 | OXYGEN FACE MASK (ADULT) | ROMSONS OR EQUIVALENT | PCS | 250
57 | OXYGEN ROTAMETER WITH FLOWMETER ( O2 REGULATOR ) | EXPORT QUALITY, ISO CERTIFIED, INDIA MADE OR EQUIVALENT | SET | 500
58 | PAEDIATRIC IV SET (VOLUMENTARY SET ) | ROMSONS OR EQUIVALENT | NOS | 125
59 | PFT DISPOSEABLE FILTER( SCHILLER) | GOOD QUALITY | PC. | 100
60 | PLASTIC TISSUE EMBEDDING MOLD | YORCO PRODUCT, GOOD QUALITY OR EQUIVALENT | NOS | 30000
61 | POVIDINE IODINE SCRUB (BETADINE) 500 ML | WIN-MEDICARE PVT. LTD, INDIA OR EQUIVALENT | BOTTLE | 2500
62 | POVIDINE IODINE SOLUTION (BETADINE) 500 ML | WIN-MEDICARE PVT. LTD, INDIA OR EQUIVALENT | BOTTLE | 3000
63 | RECORDING PAPER, 110MM X 20 MTR. (FOR NST/ AVG MACHINE) | SONOMED/NIHON KOHDEN OR EQUIVALENT | ROLL | 100
64 | RECTIFIED SPIRIT, 5 LITRE JAR | IN WHITE TRANSPARENT PLASTIC GALLON, GOOD QUALITY | JAR | 50
65 | RUBBERBAND DC OT. | GOOD QUALITY | PCS | 300
66 | SODA LIME WITH INDICATOR (FOR ABSORBING CARBONDIAOXIDE) 5 KG | AKROSORB EXPORT QUALITY OR EQUIVALENT, INDIAN MADE | JAR | 200
67 | STETHESCOPE ( ADULT SIZE ) | DOCTOR-JAPAN OR EQUIVALENT | NOS | 200
68 | SURGICAL BLADE, 100 PCS/PKT, (NO. 10) | SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT | PKT | 100
69 | SURGICAL BLADE, 100 PCS/PKT, (NO. 11) | SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT | PKT | 100
70 | SURGICAL BLADE, 100 PCS/PKT, (NO. 12) | SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT | PKT | 50
71 | SURGICAL BLADE, 100 PCS/PKT, (NO. 15) | SURGEON, KEHR SURGICALS PVT. LTD, INDIA OR EQUIVALENT | PKT | 150
72 | SURGICAL BLADE, 100 PCS/PKT, (NO. 20) | SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT | PKT | 150
73 | SURGICAL BLADE, 100 PCS/PKT, (NO. 22) | SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT | PKT | 150
74 | THERMAL PAPER FOR USG | 110 MM X20 MTR SONY JAPAN OR EQUIVALENT | ROLL | 3500
75 | TONGUE DEPRESSURE WOODEN | GOOD QUALITY | NOS | 28000
76 | ULTRA SOUND JELLEY ( 5 litre / Jar) | HAYLIDE INDIA OR EQUIVALENT | JAR | 100
77 | URO BAG (URINE BAG) | ROMSONS OR EQUIVALENT(GOOD QUALITY) | NOS | 50
78 | VASLINE WHITE( 1 KG ) | GOOD QUALITY | PH | 100
79 | WEIGHT MACHINE ( ADULT SIZE ) | LARS OR EQUIVALENT | NOS | 100
80 | YANKUR SUCTION HANDLE WITH TUBE (PVC) | ROMSONS OR EQUIVALENT | NOS | 200
81 | ACCUCHECK/OMNI TEST BATTERY - CR2032 | MAXCELL JAPAN OR EQUIVALENT, ISI CERTIFIED | PCS | 200
82 | AMBU BAG/ SILICONE RESUSCITATOR-MULTIPLE USE,ADULT, MADE OF SILICON | AMBU/RUSCH OR EQUIVALENT | NOS | 200
83 | AMBU BAG/ SILICONE RESUSCITATOR-MULTIPLE USE,PAEDIATRIC, MADE OF SILICON | AMBU/RUSCH OR EQUIVALENT | NOS | 50
84 | AMBU BAG/ SILICONE RESUSCITATOR-MULTIPLE USE,NEONAT, MADE OF SILICON | AMBU/RUSCH OR EQUIVALENT | PC. | 10
85 | ECG RECORDING PAPER (80MM X 20 MITER) | SONOMED/NIHON KOHDEN OR EQUIVALENT | PC | 15
86 | ETO PAPER (75MM X 200M. | LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED | ROLL | 2
87 | ETO PAPER 100MM X 200M. | LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED | ROLL | 2
88 | ETO PAPER 150 MMX200 M | LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED | ROLL | 2
89 | ETO PAPER 200MM X 200M | LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED | ROLL | 2
90 | ETO PAPER ROLL (50MM X 200MM) | LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED | ROLL | 3
91 | FOLEY'S CATHETER, SIZE 16 | ROMSONS OR EQUIVALENT | NOS | 50
92 | FOLEY'S CATHETER, SIZE 18 | ROMSONS OR EQUIVALENT | NOS | 35
93 | IV CANNULA NO. 18 | ROMSONS OR EQUIVALENT | NOS | 100
94 | IV CANNULA NO. 20 | ROMSONS OR EQUIVALENT | NOS | 200
95 | LARYNGOSCOPE BLADE (SIZE 4) | HILLBRO - PAKISTAN/ GERMANY MAKE OR EQUIVALENT | PC | 20
96 | LED X-RAY VIEW BOX (DOUBLE FILM) | GOOD QUALITY, ISI CERTIFIED | SET | 5
97 | LED X-RAY VIEW BOX (SINGLE) | GOOD QUALITY, ISI CERTIFIED | SET | 15
98 | NEBULISER KIT (CHAMBER WITH MASK & 2 MTR TUBING) | ROMSONS JUNIORS INDIA OR EQUIVALENT | SET | 25
99 | STETHESCOPE ( PAEDIATRIC SIZE ) | DOCTOR.JAPAN OR EQUIVALENT | PCS | 10
100 | SUTUR CUTTING NEEDLE (SIZE 0,1,2,3,4) | INDIAN MADE GOOD QUALITY | PKT. | 20
101 | WEIGHT MACHINE ( PAED. SIZE ) | LARS OR EQUIVALENT, ISI CERTIFIED | NOS | 10
102 | 3 WAY CANNULA | ROMSONS OR EQUIVALENT | NOS | 25
103 | IV CANNULA NO. 22 | ROMSONS OR EQUIVALENT | NOS | 100
104 | IV CANNULA NO. 24 | ROMSONS OR EQUIVALENT | NOS | 100
105 | NASAL AIRWAYS | ROMSONS OR EQUIVALENT | PC | 50
106 | RYLES (N/G) TUBE NO. 6 - 16 | ROMSONS OR EQUIVALENT | NOS | 50
107 | SUCTION CATHETER (SIZE 6-18 ) | ROMSONS OR EQUIVALENT | NOS | 100
108 | RECORDING PAPER, FQW 210-10-295 (210 MM X295 MM X 250 SHEETS, Z FOLD) |  | PACKET | 200
109 | ECG PAPER FOR BIOLITE | FOR BIOLITE ECG MACHINE | PAD | 100
110 | ECG PAPER FOR E65 ECG MACHINE | FOR E65 ECG MACHINE | PACKET | 50
111 | ECG PAPER FOR E70 ECG MACHINE | FOR E70 ECG MACHINE | ROLL | 50
112 | ECG PAPER FOR MIDRAY R12 (SIZE 210MMX295MMX150 SHEETS (ZFOLD) | FOR MINDRAY R12 ECG MACHINE | PAD | 500
113 | SS DRUM LARGE | LARGE SIZE(15"X12") GOOD QUALITY | NOS | 25
114 | SS DRUM MEDIUM SIZE | MEDIUM SIZE, GOOD QUALITY | NOS | 200
115 | SS DRUM SMALL | SMALL SIZE, GOOD QUALITY | NOS | 200
116 | DIGITAL TIMER | GOOD QUALITY | NOS | 20
117 | CHEATAL FORCEP WITH JAR | GOOD QUALITY | NOS | 200
118 | PULSE OXYMETER FINGER TIP | GOOD QUALITY | NOS | 200
119 | B.M.A.NEEDLE NO.16 | GOOD QUALITY | NOS | 100
120 | B.M.A.NEEDLE NO.16 | GOOD QUALITY | NOS | 50
121 | B.M.A.NEEDLE NO.20 | GOOD QUALITY | NOS | 50
122 | GALLIPOT 100ML | CE APPROVED | NOS | 600
123 | GALLIPOT 200ML | CE APPROVED | NOS | 200
124 | KIDNEY TRAY ( S.S.) SIZE 12' | CE APPROVED | NOS | 200
125 | KIDNEY TRAY ( S.S.) SIZE 8' | CE APPROVED | NOS | 200
126 | ARTERY FORCEP (STRAIGHT) | CE APPROVED | NOS | 300
127 | THUMB FORCEP TOOTH | CE APPROVED | NOS | 100