## Sheet1
Tender Requirement of Glassware for F.Y. 2080-081
S/N | Product Name | Description | Quantity | Unit | Rate | Amount
1 | BEAKER GRADUATED 100 ML | ISO, ISI CERIFIED EQUIVALENT | 20 | PCS
2 | BEAKER GRADUATED 250 ML | ISO, ISI CERIFIED EQUIVALENT | 51 | NOS
3 | BEAKER GRADUATED 500 ML | ISO, ISI CERIFIED EQUIVALENT | 30 | NOS
4 | BURETTE (GLASS) | BROSIL, TARSON OR ISO CERTIFIED | 5 | PCS
5 | BURETTE (STAND) | BROSIL, TARSON OR ISO CERTIFIED | 50 | PCS
6 | CONICAL FLASK 250ML | ISO, ISI CERIFIED EQUIVALENT | 29 | NOS
7 | BLOOD CULTURE BOTTLE (VIAL)-ADULT | (BOROSIL/SIGMA OR ISO, ISI EQUIVALENT) | 1000 | PCS
8 | BLOOD CULTURE BOTTLE (VIAL)-PAEDIATRIC | (BOROSIL/SIGMA OR ISO, ISI EQUIVALENT) | 1000 | PCS
9 | BOTTLE WITH RUBBER CAPACITY 5 ML | BOROSIL/SIGMA OR ISI, ISO EQUIVALENT | 5000 | PCS
10 | CONICAL FLASK 1000 ML | BOROSIL/SIGMA OR ISO, ISI EQUIVALENT | 10 | PCS
11 | CONICAL FLASK 2000ML | BOROSIL/SIGMA OR ISO, ISI EQUIVALENT | 10 | PC
12 | CONICAL FLASK 500 ML | BOROSIL/SIGMA OR ISO, ISI EQUIVALENT | 10 | NOS
13 | DROPPER | BOROSIL/SIGMA/MERCK/RIVIERA OR ISO, ISI EQUIVALENT | 200 | PC
14 | GLASS TEST TUBES (10 ML) | BOROSIL, TARSON, OR ISO CERTIFIED | 5000 | PCS
15 | GLASS TEST TUBES (15 ML) | BOROSIL, TARSON, OR ISO CERTIFIED | 5000 | PCS
16 | GLASS TEST TUBES (25 ML) | BOROSIL, TARSON, OR ISO CERTIFIED | 200 | PCS
17 | LAB SPOONS STAINLESS STEEL, L 12 IN. | BOROSIL, TARSON, OR ISO CERTIFIED | 40 | PCS
18 | MEASURING CYLINDER (10 ML) GLASS | BOROSIL, TARSON, OR ISO CERTIFIED | 5 | PCS
19 | MEASURING CYLINDER (100 ML) GLASS | BOROSIL, TARSON, OR ISO CERTIFIED | 50 | PCS
20 | MEASURING CYLINDER (25 ML) GLASS | BOROSIL, TARSON, OR ISO CERTIFIED | 5 | PCS
21 | MEASURING CYLINDER (50 ML) GLASS | BOROSIL, TARSON, OR ISO CERTIFIED | 15 | PCS
22 | FILTER TIPS 0.1 -10UL | TARSON/ABDOS/EPPENDORF OR ISO, ISI EQUIVALENT | 5 | 10X96 PCS/PKT
23 | DUALFILTER TIPS 2 -200UL | TARSON/ABDOS/EPPENDORF OR ISO, ISI EQUIVALENT | 5 | 10X96 PCS/PKT
24 | FILTER TIPS 50 - 1000UL | TARSON/ABDOS/EPPENDORF OR ISO, ISI EQUIVALENT | 5 | 10X96 PCS/PKT
25 | MEASURING CYLINDER, CAPACITY 100 ML | ISO, ISI CERIFIED EQUIVALENT | 2 | PCS
26 | MEASURING JUG (500 ML) | ISO, ISI CERIFIED EQUIVALENT | 40 | PCS
27 | MEASURING CYLINDER, CAPACITY 500ML | ISO, ISI CERIFIED EQUIVALENT | 7 | PCS
28 | MEASURING CYLINDER (1000 ML) GLASS | ISO, ISI CERIFIED EQUIVALENT | 5 | PCS
29 | MICRO PIPETTE TIPS 2 - 20 UL | ISO, ISI CERIFIED EQUIVALENT | 36000 | PCS
30 | MICROCENTRIFUGE TUBE WITH LID (1.5 ML) PACK OF 500 | PIPETMANN/BOROSIL/TARSON/EPPENDORF OR ISO CERTIFIED | 4 | PCS
31 | MICROCENTRIFUGE TUBE WITH LID (2ML) PACK OF 500 | PIPETMANN/BOROSIL/TARSON/EPPENDORF OR ISO CERTIFIED | 4 | PCS
32 | MICROPIPETTE TIPS (2 - 1000 UL) | ISO CERTIFIED | 5000
33 | MICROPIPETTE FIXED 200 UL | TARSON OR ISO CERTIFIED | 2 | PCS
34 | MICROPIPETTE FIXED 25 UL | ISO CERTIFIED | 5 | PCS
35 | MICRO PIPETTE TIPS 200-1000 ul | GILSON PIPETMAN/EPPENDROF/HUMAN/TARSONS OR ISO, ISI EQUIVALENT | 8000 | PCS
36 | MICROPIPETT 20-200 UL | GILSON PIPETMAN/EPPENDORF/HUMAN/TRASONS OR ISO, ISI EQUIVALENT | 2 | PC
37 | MICROPIPETTE 100 - 300UL | GILSON PIPETMAN/EPPENDORF/HUMAN/TARSONS | 2 | PCS
38 | MICROPIPPETTE 1-10 UL (VARIABLE) | TARSONS OR ISO, ISI | 5 | PCS
39 | MICROPIPETTE VARIABLE 200-1000 UL | EPPENDROF/TARSONS OR ISO CERTIFIED | 5 | PCS
40 | MICROPIPPETTE 50-200 UL VARIABAL | GILSON PIPETMAN/EPPENDORF/HUMAN/TRASONS OR ISO, ISI EQUIVALENT | 5 | PCS
41 | PASTEUR PIPETTE | BOROSIL/SIGMA/MERCK OR ISO CERTIFIED | 100 | PCS
42 | PIPETTE FILLER (SPECTROLIN) | BOROSIL/SIGMA OR ISO CERTIFIED | 5 | PCS
43 | REAGENT BOTTLE (1000 ML, BROWN BOTTLE) | BOROSIL/SIGMA/MERCK OR ISO CERTIFIED | 30 | PCS
44 | REAGENT BOTTLE (125ML, CLEAR) | BOROSIL/SIGMA/MERCK OR ISO CERTIFIED | 30 | PCS
45 | REAGENT BOTTLE (250 ML, CLEAR) | BOROSIL/SIGMA/MERCK OR ISO CERTIFIED | 100 | PCS
46 | REAGENT BOTTLE (250 ML, BROWN BOTTLE) | BOROSIL/SIGMA/MERCK OR ISO CERTIFIED | 50 | PCS
47 | MICROSCOPIC COVER SLIP 22 X 22 MM | BLUE STAR/SIGMA ALRICH/THERMOFISHER OR ISO, ISI EQUIVALENT | 1340 | PKT
48 | MICROSCOPIC COVER SLIP 22 X 50 MM | BLUE STAR/SIGMA ALRICH/THERMOFISHE OR ISO, ISI EQUIVALENT | 3100 | PKT
49 | MICROSCOPIC GLASS SLIDE ( 1.2 MM THICKNESS ), SINGLE END FROSTED GROUND EDGES SLIDES. | PEARL BRAND, CHINA MADESIGMA ALRICH/THERMOFISHE OR ISO, ISI EQUIVALENT | 3300 | PKT
50 | PASTUER PIPETTES (PLASTIC) | BOROSIL/SIGMA OR ISO, ISI EQUIVALENT | 400 | PC
51 | MICROPIPETTE 100-1000 UL | GILSON PIPETMAN/EPPENDORF/HUMAN/TRASONS OR ISO, ISI EQUIVALENT | 1 | PC
52 | REAGENT BOTTLE (500ML) | BOROSIL/SIGMA/MERCK/RIVIERA OR ISO, ISI EQUIVALENT | 50 | PC
53 | ROUND FLASK FLAT BOTTOM 500 ML (BOROSIL) | (BOROSIL OR ISO,ISI EQUIVALENT) | 10 | PC
54 | ROUND FLASK, FLAT BOTTOM 1000 ML | BOROSIL/SIGMA OR ISO, ISI EQUIVALENT | 10 | PC
55 | ROUND FLASK, FLAT BOTTOM 2000 ML | BOROSIL/SIGMA/MERCK/RIVIERA OR ISO, ISI EQUIVALENT | 10 | PC
56 | SCREW CAP TEST TUBE 10 ML | BOROSIL/SIGMA OR EQUIVALENT | 200 | PCS
57 | STIRRING RODS DIAM, X H 4 MM X 200 MM | BOROSIL/TARSON OR ISO CERTIFIED | 25 | PCS
58 | STIRRING RODS DIAM. X H 4 MM X 200 MM | BOROSIL/TARSON OR ISO CERTIFIED | 30 | PCS
59 | TEST TUBES STAND (12 TUBES) | BOROSIL/TARSON OR ISO CERTIFIED | 100 | PCS
60 | TEST TUBES STAND (40 TUBES) | BOROSIL/TARSON OR ISO CERTIFIED | 20 | PCS
61 | VOLUMETRIC FLASK (10 ML) | BOROSIL/TARSON OR ISO CERTIFIED | 10 | PCS
62 | VOLUMETRIC FLASK (100 ML) | BOROSIL/TARSON OR ISO CERTIFIED | 25 | PCS
63 | VOLUMETRIC FLASK (1000 ML) | BOROSIL/TARSON OR ISO CERTIFIED | 10 | PCS
64 | VOLUMETRIC FLASK (200 ML) | BOROSIL/TARSON OR ISO CERTIFIED | 10 | PCS
65 | VOLUMETRIC FLASK (250) | BOROSIL/TARSON OR ISO CERTIFIED | 20 | PCS
66 | VOLUMETRIC FLASK (500 ML) | BOROSIL/TARSON OR ISO CERTIFIED | 10 | PCS
67 | STERILE SWAB STICKS WOODEN | HI-MEDIA OR ISO, ISI EQUIVALENT | 38100 | PCS
68 | STORAGE VIAL 5 ML | TARSONS OR ISO, ISI EQUIVALENT | 5000 | PCS
69 | STERILE URINE COLLECTION VIAL, 50ML | LEAK PROOF, SETERILE WITH SCREW CAPPED, CONTAINER: TARSON/VOLLAC OR ISO, ISI EQUIVALENT | 25000 | VIAL
70 | STORAGE VIAL 2 ML | TARSONS OR ISO, ISI EQUIVALENT | 2000 | PCS
71 | TEST TUBE 12 X 100 MM WITH CAP | BOROSIL 0R ISO, ISI EQUIVALENT | 5200 | PCS
72 | WASH BOTTLE | BOROSIL/SIGMA OR ISO, ISI EQUIVALENT | 72 | PC
73 | WIRE GAUGE | ISO AND CE CERTIFIED | 24 | PC
74 | TEST TUBE BRUSH MEDIUM | ISO AND CE CERTIFIED | 12 | PC
75 | PETRIDISK (PLASTIC, AUTOCLAVABLE) RE-USABLE |  | 5000 | PC
76 | PETRIDISK (GLASS, 90 mm) |  | 2000 | PC
77 | SS, DRUM LARGE |  | 5 | PC
78 | DISPENSER FOR MEDIA |  | 4 | PC
79 | NICHROME WIRE |  | 1 | KG
80 | MICROPIPETTES (1000mL) FIX | ISO CERTIFIED | 1 | PC
81 | FLAT BOTTOM FLASK 2000ML | ISO CERTIFIED | 2 | PC
82 | MEASURING CYLINDER 10ML | ISO CERTIFIED | 4 | PC
83 | MEASURING CYLINGER 2000ML | ISO CERTIFIED | 2 | PC
84 | MICROPIPETTES (20-200) UL | ISO CERTIFIED | 1 | PC
85 | TEST TUBE 15 X 150 MM | BOROSIL/SIGMA/MERCK/RIVIERA ISO, ISI EQUIVALENT | 2000 | PCS
87 | GLASS PLATE FOR CHROMATOGRAPHY (ANALYTICAL CHROMATOGRAPHY) 2 PACKET (20 cm X 20 cm), 0.25 mm TH | MERCK/SIGMA OR ISO CERTIFIED | 2 | PKTS
Total Amount
13% VAT
Total Amount with Vat